## Slide 1: Assessing the Impact of Cybersecurity on Wind Power Stations US TAG TC88 MARCH 9, 2021
Bob Sherwin
Vermont Windpower International
Convener IEC TC-88 61400 - WG26, 61400-WG15
Deputy TA US TC-88
Chair USNC – IECRE, ARESCA

## Slide 2: Goals for IEC Activities
Identification of Stakeholder interests relative to cybersecurity
Review existing IEC and other relevant standards
  Gap analysis – needs?
Recommendations to TC 88 for revisions to existing standards or to develop new work item proposals

## Slide 3: IEC and other work for Cybersecurity
Relevant IEC/US Standards not wind specific
  IEC 62443 Industrial automation guidelines for cybersecurity protection for supervision of the electric power system
  IEC 61850 Communication Network and Systems for power utility automation
  IEC 62351 Securities Standards and Vulnerabilities
  UL 2900 Software cybersecurity for network connected products. Focusing on testing systems security
  NERC/CIP 001-009 Bulk Electrical System > 75mW > 100kVA. Rule changes and modifications are underway
  NIST frame work for improving critical infrastructure cybersecurity
  IEC 61508 aspects of security that can impact functional security
Wind Specific
  IEC 61400-25 communications for monitoring and control of wind plants

## Slide 4: Cybersecurity for Wind Energy - Background
Goal: Risk assessment, mitigation and recommendations for practices, standards, compliance and certification
To accomplish the goal:
    Develop technical rationale for proposed new standards or revision of existing documents
    Recognize the relationship of availability and reliability to cybersecurity
    Develop a priority of actions to be taken based on the impact to RELIABILITY (NERC/CIP)
    Security and protection of critical infrastructure for safety and economic consequences for finance, insurance, lost revenue, regulatory fees and penalties.

## Slide 5: Goals
Recommendations to IECRE for certifications and compliance documents that might be needed.
  Controls, SCADA and software
  Data storage
  Physical and digital intrusions
    Wind power plant and control room
  Employee training, security and portal access controls
  Embedded hardware and software protection in the manufacturing and installation process
  Compliance to regulatory requirements
    Grid codes, NERC/CIP, ISO and RTOs
  Road map for future work in the IEC
CAB – under TC 57 working group 15 looking into new roles for cybersecurity conformity assessment. Wind was not specifically included

## Slide 6: IEC Standards and IECRE Conformity assessment organization

## Slide 7: ARESCA Contacts
ARESCA President – Dan Brake
dbrake@aresca.us
ARESCA Secretary – George Kelly secretary@aresca.us
ARESCA Board Chair – Robert Sherwin vtwindpower@gmail.com
ARESCA Standards Chair – Brian McNiff brian@mcnifflight.com
www.aresca.us

## Slide 8: IEC TC 88 Wind Energy Standards Contacts
TC 88 Chair - Jeroen van Dam, NREL Jeroen.van.Dam@nrel.gov
TC 88 – US committee Secretary George Kelly ARESCA secretary@aresca.us
TC88 – US Technical Advisory Group (TAG)
  TA Kyle Wetzel kyle.wetzel@wetzelwind.com
  DTA - Robert Sherwin, VWI vtwindpower@gmail.com
https://www.iec.ch

## Slide 9: Conformtiy assessment – IECRE Wind Energy Sector Contacts
  IECRE Chair – Alistair Mackinnon a.mackinnon@e-t-c.co.uk
  IECRE Executive Secretary – Wolfram Zeitz wze@iec.ch
  IECRE Wind Sector Chair – Frank Ormel, Vestas FRORM@vestas.com
  IECRE – US National Committee Chair – Robert Sherwin, VWI vtwindpower@gmail.com
  IECRE – US National Committee Secretary – George Kelly secretary@aresca.us
  IECRE – End User group convener - Wallace Ebner, ARESCA w.ebner@comcast.net
  http://www.iecre.org/sectors/windenergy/