## Slide 1
Reliability
Standards
Supporting Research
Tech Development
Guidance Docs.
Best Practices
Testing
Establish uniform engineering or technical criteria, methods, processes, and practices
Facilitate markets, reduce costs
Safety, quality, and consistency
Buyer-seller transactions
Protect stakeholders
Outage questions:
How often?
How long?
How much?
Asset Management questions:
Whose clock is it on?
What did we get?
What did we expect?
Why or why not?
Availability: The available state is where the PVPS, a subsystem, or a component can provide service, regardless of whether it is in service and regardless of the capacity level that can be provided
Reliability: Probability that an item (component, assembly, or system) can perform its intended function for a specified interval under stated conditions.
IEC 61400-26-4 Reliability Status Report
Notes: "A prescribed set of rules, conditions, or requirements concerning definitions of terms; classification of components; specification of materials, performance, or operations; delineation of procedures; or measurement of quantity and quality in describing materials, products, systems, services, or practices." National Standards Policy Advisory Committee

## Slide 2: Embarrassment of Analytical Riches

## Slide 3
Why is Reliability Important?
Answer: Cost and performance -- Field failures may be very costly
The motivation for addressing reliability in the implementation and operation of a WEGS is founded in the desire for long
lasting and cost-effective energy performance, energy production, secure production and revenue, and safe function
Problem Statement
Top issue = 25-30-year reliable life, obtained by ongoing maintenance and replacements. This is largely a problem of physics, chemistry, metallurgy, material science, etc. From an economics perspective, the need is to find the elements and efficiently manage expected life with a plan for ongoing and strategic maintenance. The issues are to manage:
Failure data, maintenance history, component condition monitoring, health and operating condition
Reliability analyses (measured and predictive), life expectancy, maintenance actions, life extension plans, critical items, -outage times, component failures identified, restoration times (maintenance), repeating failures, lost time/revenue, availability
Reporting, standardized metrics, common basis of terms, etc.

## Slide 4: Reliability Practices for the Operation of Photovoltaic Power System IEC TS 63265 for example:
Key Normative Requirements
Compatible with Information Model, outage tracking
Failure Modes and Effects Analysis
Failure Reporting and Corrective Action System
  Failure Inputs
  Failure incident data tracking
  Supplier/customer interface
  Informational sources
  Reporting requirements
  The corrective action aspect
  of FRACAS
Reliability Plan
-Creation of a Reliability Plan
Model Specification for a Reliability
Program Plan
Example Reliability Approach
Informative content
Introduction, scope, Terms, Definitions and Abbreviations,
Background, Interrelationship of Reliability, Maintainability and Availability,
Dependability, Risks, Early PVPS Reliability Tools and Topics, Operational Analytics, More Reliability Tools and Topics, Best Practice Checklist for EPC Technical Aspects, Best Practice Checklist for O&M Technical Aspects, Bibliography

## Slide 5
Status: 61400-26-4 Reliability
Multiple drafts and contributions
Back to basics, what is the problem to solve
Information model expanded by Denmark
  Reliability as a term in the Information Model
  The Information Model and use for reliability metrics
  Derivation of parameters for reliability metrics
  Required Information Categories
  Reliability terms derived from counter data – normative levels
  Reliability terms derived from the Information Model – optional levels
  Applicability to WEGS, systems and components
  Verification scenario example
Work going forward
  Resolution process and scope confirmation
  Interface with future DFR in 61400-1?
  CD issuance by year end
Information model
Basic model
Reliability Considerations
Reliability Layer
Reporting metrics
Incident data tracking:
Critical Components Table
O&M records
Reliability topics
Dependability - summary and reference
Reliability, Availability and Maintainability (RAM)
Analytical Techniques
Data
Annex A
Reliability Analyses
RAM tools and topics
Annex B
Reliability Block Diagram (RBD)/Monte Carlo Simulations
Failure Modes and Effects Analysis (FMEA)
Fault Tree Analysis
Failure Reporting and Corrective Action System (FRACAS)
Maintainability and other RAM terms
Critical Items List
Data Analysis
Root cause analysis (RCA)
Long Term Trend Analysis
Pareto Analysis
Life Cycle Costs of Reliability
Risk analysis
rogrhill@gmail.com