## Slide 1: IEC 61400-15 Status Update
Matthew V. Filippelli – Technical Director, US Wind, Inc.
IEC TC88 USTAG Web Meeting
March 9, 2021
Live, from my office!

## Slide 2: Presentation Outline
Background on IEC 61400-15
IEC 61400-15-1
IEC 61400-15-2
Next Steps
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 3: Background on IEC 61400-15
The IEC 61400-15 Working Group (WG) is developing a set of two IEC standards for wind site suitability input estimation (IEC 61400-15-1), and resource assessment and energy yield analysis (IEC 61400-15-2).
  PART 15: ASSESSMENT OF WIND RESOURCE, ENERGY YIELD AND SITE SUITABILITY INPUT CONDITIONS FOR WIND POWER PLANTS
The working group is convened by Bob Sherwin (US), and the Secretary is Jason Fields (US).
The WG is comprised of 60+ topic-area experts from 15 countries, including representatives from developers, turbine manufacturers, consultancies, labs, and academia.
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 4: Background on IEC 61400-15: Scope
The scope of the 61400-15 set of Standards is to define a framework for assessment and reporting of the wind resource, energy yield and site suitability input conditions for onshore and offshore wind power plants.
Definition, measurement, and prediction of the long-term meteorological and wind flow characteristics at the site
Integration of the long-term meteorological and wind flow characteristics with wind turbine and balance of plant characteristics to predict net energy yield
Characterizing environmental extremes and other relevant plant design drivers
Assessing the uncertainty associated with each of these steps
Addressing documentation and reporting requirements to help ensure the traceability of the assessment processes
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 5: Background on IEC 61400-15: Scope
The Standards will:
  Prescribe normative reporting frameworks and uncertainty calculation methods
  Provide recommend practices to implement and reduce uncertainty for all elements of the assessment and campaign
The Standards will not:
  Qualify or disqualify projects
  Qualify or disqualify consultants/Independent Engineers
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 6: Background on IEC 61400-15: Organization
The original 61400-15 scope has been split into two Standards.
  Site Suitability Input content (-15-1) has been separated from the uncertainty and reporting content and has advanced to Committee Draft.
  Uncertainty calculation and reporting content (-15-2) is still under development.
61400-15
61400-15-1
Site Suitability Inputs
61400-15-2
Uncertainty & Reporting
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 7: IEC 61400-15-1
IEC 61400-15-1 ED1
Wind energy generation systems – Part 15-1: Site suitability input conditions for wind power plants
Comprised of two components:
  Standard document
  Data input sheet, currently in MS Excel format
Working Group is currently addressing comments on the CD
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 8: IEC 61400-15-1
Scope is identical to the larger 61400-15, except uncertainties and energy-related analysis topics are excluded
Key Normative Topics:
  Ch. 5: Methodologies to determine turbine suitability input parameters
  Annex A (normative): Requirements to fill out Climatic Conditions Input Form
  Annex B (normative): Turbine Suitability Input Reporting
Informative Annexes cover analytical methods for extreme winds and mesoscale modeling
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 9: IEC 61400-15-1: Data Input Form
One standard suitability input form acceptable across turbine vendors
Does NOT preclude providing raw data; File format not finalized
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 10: IEC 61400-15-1: Review and Comment
CD documents are attached here and are also available upon request
  M.Filippelli@uswindinc.com
Over 800 comments received by the Working Group
  Significant effort to aggregate and transfer country comments from IEC standard comment sheet (Word format) to a useful comment tracking& resolution format (Excel format)
Comment review and resolution underway.
  Editorial comments addressed
  Next meeting to address technical comments: March 10-11, 2021
Standard (PDF)
Input Form (XLSX)
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 11: IEC 61400-15-1: Development Status
WD
Working Draft – Complete
Technical Content and Narrative under final review and edit by WG
CD
Committee Draft – Q3 2020
Draft documents released to national bodies for review and comment
FDIS
Final Draft International Standard – anticipated Q4 2021
CDV
Committee draft for Vote – anticipated Q3 2021
National bodies review of updated draft and vote
We are here
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 12: IEC 61400-15-2: Overview
IEC 61400-15-2: Framework for assessment and reporting of the wind resource and energy yield for onshore and offshore wind power plants.
It covers:
  Wind Resource & Energy Yield Assessment methods
  Energy Loss and Uncertainty Calculation Methods
  Reporting Format for methods and results
  Assessments based upon measured wind conditions, operational plant inputs, and virtual data
Technical content being developed in parallel by nine (9) separate subgroups:
  Historical Data/Project Lifetime Variability
  Site Measurement
  Spatial Extrapolation
  Vertical Extrapolation
  Operational Data
  Virtual Data
  Plant Performance
  Combining Uncertainty
  Reporting
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 13: IEC 61400-15-2: Overview
Progress thus far:
Consensus Loss and Uncertainty Frameworks have been published and are largely adopted across US industry.
Technical content and calculation methods for each uncertainty parameter are under development, at various stages of completion, testing and review.
Individual uncertainty calculation methods have been published and validated
Narrative sections are being compiled into a single document which will form the basis of the CD.
The WG and individual sub-groups are meeting remotely.
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 14: IEC 61400-15-2: Development Status
WD
Working Draft – In Progress
Technical Content and Narrative under final review and edit by WG
CD
Committee Draft – anticipated Q3/Q4 2021
Draft documents released to national bodies for review and comment
FDIS
Final Draft International Standard
CDV
Committee draft for Vote
National bodies review of updated draft and vote
We are here
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 15: Next Steps
61400-15-1:
  CD documents available for review, but significant updates expected
  Working group is addressing all comments and making updates to the CD documents
  Updated CD documents then require IEC review before CDV publication
61400-15-2:
  Continue standard document development and method validation
  CD Target Q3/Q4 2021
Previous IEC 61400-15 presentations and public documents are available here:
  https://zenodo.org/communities/iec_61400-15/?page=1&size=20
Notes: We will go through the process of assessing the wind resource and estimating the energy production of this project as if we are bidding into the OREC RFP
We will illustrate our methods and results, but, more importantly, I will highlight the relevant topics to consider when running an offshore energy analysis, particularly where they may differ from onshore

## Slide 16
Thank you for your Attention!
Please feel free to get in touch with questions.
Matthew V Filippelli
m.filippelli@uswindinc.com
+1.518.527.8965
Jason Fields - Michael.Fields@nrel.gov
Bob Sherwin - vtwindpower@gmail.com