## Slide 1: IEC 61400-28: Through life management and life extension of wind farms
Technical Specification
Status: CD issued for voting and comments
3/2/2021 - Peter Gregg (peter.gregg@ge.com)

## Slide 2: Status
CD for TS IEC 61400-28: Through life management and life extension of wind power assets
“to enable wind farm operators to manage wind turbines for the longest possible safe period of time... Defined here are the procedures for amassing the minimum body of evidence to justify continued operation.”
“In particular, recommendations are given and exemplar for the assessment of (1) historical duty, usage and working life consumed, (2) current component health and (3) expected future remaining life.”
Target comments to US-TAG by April 1st
Comments due to IEC due April 23rd
NWIP: TS IEC 61400-28-2
Decommissioning and preparation for recycling
This proposal is to cover the scope of decommissioning and preparation for recycling.
The intent is to describe the tasks and considerations of each of the steps of the process.
Scope is limited to preparing the materials for shipment from site to be re-used, providing information about sizes and composition
Excludes re-use or recycling methods
Vote on New Work Item Proposal due March 28th

## Slide 3: Through life management and life extension Focus: Main Load Carrying Components & Critical Systems
-design information & technical specifications
-wind data
-production data
-Operational/SCADA data
-maintenance records
-Assess current status/health
-Rank components, modes of failure (RPN=Severity*Occurrence* Detectability)
Incorporate list of recommended inspections in Annex C
Incorporate major component replacement history
Engineering analysis to determine Remaining Useful Life (RUL)
Component Design
Aeroelastic Models
Uncertainties

## Slide 4: TS IEC 61400-28-2: Decommissioning and preparation for recycling
2. MAPPING OF REGULATIONS
2.1. Dismantling
2.2. Legislation framework for Resource Management
2.3. Site Restoration
3. DECOMMISSIONING PLAN
3.1. Project management
3.2. Description of Activities
3.3. Data Requirements
3.4. Permitting Formalities
3.5. Communication Plan
4. DISMANTLING
4.1. Disassembly
4.2. Cutting and Separating
4.3. Loading and Transport
5. RESOURCE MANAGEMENT
5.1. Overview
5.2. Concrete
5.3. Metals
5.4. Composites
5.5. Rare Earths
5.6. Oils
5.7. Other materials
5.8. Material Traceability
5.9. Health & Safety Considerations
6. SITE RESTORATION
6.1. Restore Site to Greenfield
6.2. Damage Minimization
6.3. Visual Remediation

## Slide 5: Comments
Well thought out and thorough
Very useful for markets where a permit renewal is required
Looking for US industry feedback on US market use cases
TS IEC 61400-28-2: Decommissioning and preparation for recycling – do we see a need for this document?
Questions or interested in joining the Mirror Committee? Please contact peter.gregg@ge.com

## Slide 6: Backup